| COOL ROOM |  |  |  |  |  | SOP Number: |  | RA Number: |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 090SOP |  | 103RA |
| DO NOT use / operate / this equipment or complete the task unless you have been trained. |  |  |  |  |  |  |  |  |
| POTENTIAL RISKS: Locked In, Slips, trips and falls. |  |  |  |  |  |  |  |  |
| # PRE-OPERATIONAL SAFETY - Ensure all high risk foods are placed in cold storage areas and check the inside of the refrigerator or cool room using a thermometer It is vital that in a food business that all high risk foods and perishable foods are held at temperatures at or below 5ºC. |  |  |  |  |  |  |  |  |
| # OPERATIONAL SAFETY PRECAUTIONS - Refrigeration units should operate between 1ºC and 4ºC and it is important that the following steps are taken to ensure that these temperatures are maintained: - - Cool hot food before refrigerating e.g. place in shallow containers so that it cools more quickly. - - Keep opening and closing of fridge doors to a minimum. - - Keep seals on refrigerator and cool room doors in good condition. - - Store raw and cooked/ready to eat foods separately to eliminate the risk of cross contamination. - - Store cooked and ready to eat foods above raw foods. - - Foods stored in cool rooms should be placed on shelving at least 30cm above the floor. - - Clearly label and date stored foods. - - Ensure stored foods are rotated on a first in, first out basis. - - Regularly check perishable products and discard any that are spoiled, contaminated or out-of-date. - - Regularly clean the refrigeration units including cool rooms and fridges. - - Do not store cans/tins in the refrigerator once they have been opened. Place contents in food grade containers. - - Do not over crowd refrigerators and cool rooms with product. - - Do not stack product in front of motors or fans. - - Do not let ice build-up in the fridge. Defrost regularly. |  |  |  |  |  |  |  |  |
| # HOUSEKEEPING - Keep clean. - Wipe up spills immediately - Do no leave items on the floor - If unit is not keeping correct temperature, contact Maintenance. - Test Emergency light and bell on a regular basis. |  |  |  |  |  |  |  |  |
| Date of last review: |  |  |  | Signature: |  |  |  |  |

Acknowledgement much of the information in this document has been sourced by the Department of Education & Children’s Services SA.