| Electric Bed |  |  |  |  |  | SOP Number: | RA Number: |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 036SOP | 014RA |
| DO NOT use / operate / this equipment or complete the task unless you have been trained. |  |  |  |  |  |  |  |
| POTENTIAL RISKS: Crushing injuries; Sprains / Strains; Electric Shock; |  |  |  |  |  |  |  |
| # PRE-OPERATIONAL SAFETY Complete a pre-start inspection of the equipment, this includes: - Ensure cord is away from any entrapment points - Check that the cord is not damaged and has been tested with current tag affixed. - Before moving the bed, ensure person is safely on the bed |  |  |  |  |  |  |  |
| OPERATIONAL SAFETY CHECKS - Check that all external cables are connected - Familiarise yourself with the control pad - Ensure all brakes have been applied to the wheels before attending resident. - To raise and/or lower head of bed extend winder - right hand side of foot end of bed. - To raise and/or lower height of bed extend winder – middle of foot end of bed. - Position body correctly either by squatting or lunging to use winder. - When cleaning room ensure bed repositioned correctly and brakes re-applied to all wheels. - Use control pad to achieve desired settings |  |  |  |  |  |  |  |
| # HOUSEKEEPING - Ensure control placed back in correct completed. - Do not leave extended - Report any issues. |  |  |  |  |  |  |  |
| Date of last review: |  |  |  | Signature: |  |  |  |

Acknowledgement much of the information in this document has been sourced by the Department of Education & Children’s Services SA.